## Slide 1: DSTAR (Detector System for Tracking Angular Radiation) Modular 4π Muon Detector for Field Measurements and Evaluation of Ambient Conditions in Low-Background Experiments
Mark Shirchenko
Muographers 2026,
Budapest
Joint Institute for Nuclear Research
01.06.2026
Notes: 4π or 2π?
DSTAR is a modular detector designed for measuring the angular distribution of cosmic-ray muons in various environments.

## Slide 2
Motivation
Low-background and muography-related measurements often require:
fast site characterization;
evaluation of effective overburden;
environmental muon monitoring;
measurements outside dedicated underground laboratories;
flexible deployment geometry.
Existing systems are often:
large;
infrastructure-heavy;
optimized for fixed installations;
not intended for field deployment.
Notes: We're relatively new to this field.

## Slide 3: Concept of DSTAR
modular;
scalable;
autonomous;
4π coverage;
coincedence measurements;
portable.

## Slide 4: Prototype
Big Challenges (Sirius school)
14 channels

## Slide 5: KNPP
Lorem ipsum dolor sit amet, consectetur adipiscing elit, sed do eiusmod tempor incididunt ut labore et dolore magna aliqua.
  Lorem ipsum dolor sit amet, consectetur adipiscing elit, sed do eiusmod tempor incididunt ut labore et dolore magna aliqua.
  Ut enim ad minim veniam, quis nostrud exercitation ullamco laboris nisi ut aliquip ex ea commodo consequat.
  Ut enim ad minim veniam, quis nostrud exercitation ullamco laboris nisi ut aliquip ex ea commodo consequat.
GEMMA
(Neutrino Magnetic Moment)
DANSS
(reactor monitoring and search for sterile neutrino oscillations)
GeN
(Coherent -Ge scattering)
Pressurised Water Reactor (ВВЭР-1000)
Thermal Power: 3 100 MW
Neutrino Flux: / 4 / day
Campaign: 18 months
stability over months;
count rate consistent with MC and DANSS;
> 95% uptime;
no significant environmental dependence
Notes: Unfortunatelly I’m not allowed yet to show the results

## Slide 6: Detector architecture
64-channel FADC;
CAEN → AFI-ADC64;
            12 bit, 62.5 MS/s
      sampling interval: 16 ns
      up to 2048 events/s
Scintillator + SiPM
DAQ
Printed plastic matrix
Baikal telescope sphere
Geometry
64-channel (32 pairs);
diffuse reflective coating;
Notes: AFI price 3 times cheaper than CAEN

## Slide 7: Detector architecture
Scintillator + SiPM
DAQ
Prepacking

## Slide 9: Field application (Onega lake)
Lack of data down to 1 km
Direct water-equivalent depth measurements
Sea level
Flat surface
0 – 130 meters
Notes: Initial idea was Bakal lake

## Slide 10: Great help from ”Northern Water Problems Institute”, KarRC RAS
1 month on the ice
0 – 25 meters measurements

## Slide 11: Preliminary results
Overall muon rate vs water depth
Channel-by-channel attenuation vs water depth
Muon rate decreases monotonically with depth.
Consistent behaviour is observed across all coincidence channels.
Detector response can be used to estimate effective water-equivalent overburden.
Notes: The right panel demonstrates that the same behavior is observed independently in all 32 coincidence channels, indicating that the effect is physical rather than detector-specific.

## Slide 12
Conclusions
Possible applications
DSTAR demonstrates stable autonomous long-term operation;
the modular architecture enables flexible field deployment;
first measurements of direct water-equivalent depth have been successfully performed;
future scaling opens the path toward underwater measurements and muography applications.
Overburden estimation
Environmental monitoring
Underground surveys
Muography R&D
Education and outreach